MIPPY Training Note

# Setup Python to run on your computer

This step can be skipped if you have used MIPPY on this computer before. This script will set up local registry entries for the Python interpreter, and map drive “M:” on your computer to the MRI shared directory within RRPPS.

- In Windows Explorer, navigate to:
\\uhb\userdata\Medical Phys\RRPPS\RRPPS Documentation\MRI\Software_Programs\MIPPY

- Run SETUP PYTHON, and follow the prompts – select “Yes” or “Ok” when asked to confirm steps

# Start MIPPY

- From My Computer, navigate to:
M:\Software_Programs\MIPPY

Always go via My Computer.  Do not use any existing shortcuts you have which use the network share path starting \\uhb... or \\Nt...

- Run START_MIPPY

- The MIPPY startup screen should display while the program loads.  If this hasn’t happened after 30s, seek assistance.

# Load DICOM images into MIPPY

- From the menu in MIPPY, select File / Load new image directory

- Navigate to the folder of images you would like to load.
NOTE – images in the RRPPS QA or Work in Progress folders are best found via My Computer / M: rather than using network share paths

- When asked if you would like to search recursively, select “Yes” if you would like to include all subfolders of the folder selected. Otherwise, “No” will only select images at the selected directory level.

NOTE – On UHB computers, there is a significant delay loading the first 2-4 images (due to the way python’s multiprocessing is implemented on Windows).  This creates around 5-10 seconds of lag after selecting your image directory before the progress bar starts moving.  Do not try and re-select a directory within this time.

# Signal to Noise Ratio